## weekly
Facilities Management - Regular Building Checks
Weekly Checks | Status | Checked By
Fire Alarm - a different control panel every week | Mandatory | Competent Person
Fire False Alarm Events | Mandatory | Competent Person
Faults and Engineer Visits | Mandatory | qualified company
Dead End Water Checks | Mandatory | staff
Check emergency lighting diffusers are clean, intact and lamps do not show signs of blackening at ends | Recommended | staff
First Aid boxes/kits | Recommended | staff
This is not a comprehensive list and should be used with your specific building in mind
Compiled 11-10-22

## monthly
Monthly Checks | Status | Checked By
Disabled Alarms | Mandatory | Competent Person
Disabled Alarm back up batteries | Check when batteries due for replacement - recommended | Competent Person
Emergency lighting & Testing Central Power System Functional Test | Mandatory | Competent Person
Regularly used water outlets | Mandatory | Competent Person

## 6monthly
6 Monthly Checks | Status | Completed by
Fire Alarm inspection and servicing periodic test | Mandatory | Qualified Company

## Annual
Annual Checks | Status | Checked By
Fire Alarm Test - Full | Mandatory | Competent Person
Fire Evacuation Drill | Mandatory | Competent Person
Fire safety procedures reviewed and updated | Mandatory | Competent Person
Emergency Plan reviewed and updated | Mandatory | Competent Person
Fire Alarm Serviced | Mandatory | Engineers
Fire Extinguishers Serviced | Mandatory | Engineer
Food Hygiene - Updated Kitchen Manual | Good practice | Environmental health
Health and Safety at Work | Update Risk Assessments | Competent person
Legionella Safety | Update Risk Assessment | Competent person
Emergency Lighting System Full System test | Mandatory | NECIEC Qualified Electrician
Boiler | Mandatory | Engineer
Smoke Ventilation System | Mandatory | Engineer
Gas Appliances | Mandatory | Gas engineer
Tenancy checks/inspections | Good practice | Competent person
All risk assessments | Good practice | Competent person
Electrical PAT | Good practice - annually depending on activities and appliances | PAT trained person

## 5 year
2-5 Year Checks
Item | Frequency | Tested by
Building electrical safety | Every 5 years but could be less if your Fire Risk Assessment indicates | Electrician

## Training
Course | Who | Frequency
It is important to keep a record of the courses that each staff and volunteer are required to
undertake and how often they need to be renewed